Blood Transfusion Laboratory

Level 4, Red Zone

Medway Maritime Hospital

Windmill Road

Gillingham

Kent

ME7 5NY

Contents

1	GENERAL INFORMATION	3

1.1	LOCATION	3

1.2	OPENING HOURS	3

1.3	DEPARTMENTAL KEY PERSONNEL	4

1.4	LABORATORY VISITS	5

1.5	INFORMATION GOVERNANCE	5

1.6	BLOODTRACK	5

1.7	SOP’s AND POLICIES	5

2	SAMPLE COLLECTION	6

2.1	POTENTIALLY INFECTIOUS SAMPLES AND HIGH RISK SAMPLES	6

2.2	REQUESTING TESTS	6

2.3	REQUEST FORMS	6

2.4	URGENT REQUESTS	6

2.5	VENOUS BLOOD COLLECTION	7

2.6	SAMPLE LABELLING	7

2.7	SAMPLE VALIDITY	8

2.8	REJECTION OF SAMPLES	8

2.9	FACTORS TO BE CONSIDERED THAT MAY AFFECT SAMPLE PROCESSING	9

2.10   SAMPLE VOLUME AND APPROPRIATE VACUTAINER	9

3	TRANSPORTATION OF PATHOLOGY SAMPLES	9

3.1	SENDING SAMPLES TO THE LABORATORY	9

3.2	PNEUMATIC AIR TUBE DELIVERY	9

3.3	HOSPITAL PORTERING SERVICE	10

3.4	COURIER SERVICE	10

3.5	SAMPLE SPILLAGES AND LEAKS	10

3.6	SAMPLE REFERRAL	10

4. TRANSFUSION TRAINING FOR STAFF	11

5. TRANSFUSION ADVICE	11

6. TEST REPERTOIRE	12

7	BLOOD COMPONENTS AND PRODUCTS	19

7.1	RED BLOOD CELLS	19

7.2	PLATELET CONCENTRATES	19

7.3	FRESH FROZEN PLASMA (FFP) AND CRYOPRECIPITATE (CRYO)	20

7.4	ANTI-D IMMUNOGLOBULIN (IG)	20

7.5	COAGULATION FACTORS/PRODUCTS	20

7.6      PROVISION OF BLOOD IN AN EMERGENCY	20

7.7	MAJOR HAEMORRHAGE PROTOCOL	21

8	TRANSFUSION REACTION	21

9	RELATIONSHIP WITH THE BLOOD TRANSFUSION LAB AT DARENT VALLEY  HOSPITAL	21

# 1	GENERAL INFORMATION

Medical and Scientific staff within the Blood Transfusion Department have compiled this handbook in consultation with users to provide information about our services and ensure a full understanding of those services to enable their use to full potential. The information is accurate at the time of issue, but is reviewed and updated as appropriate. We welcome your comments or suggestions so that we are aware of, and can consider your requirements.

The Blood Transfusion Laboratory carries out blood group analysis and compatibility testing to ensure that blood components are selected safely and appropriately for patients. Diagnostic laboratory work is undertaken by Biomedical Scientists and Healthcare Scientist Support Workers (BMS and HSSW’s).

The laboratory is located in the Pathology Department, on Level 4 Red Zone of Medway Maritime Hospital. Entry to the Pathology Department is for authorised personnel only by swipe card access. All other personnel must report to Pathology Reception.

The laboratory complies with the Trust Information Governance procedures and has an internal policy document (Policy for Management of Data and Information - Pathology 2887) to ensure protection of personal information. Formal laboratory complaints should be sent to the PALS office, who will then forward to the General Manager of Pathology or Designated Individual to investigate.

The Blood Transfusion department participate in National External Quality Assessment Schemes (NEQAS) for all tests wherever possible.

## LOCATION

Blood Transfusion Department

Pathology, Level 4 Red Zone

Medway Maritime Hospital

Windmill Road

Gillingham, ME7 5NY

## OPENING HOURS

Routine Working Hours: Contact Number – Extn: 5117

| Medway Maritime Hospital | Pathology Reception | Central Specimen Reception | Blood Transfusion Laboratory |
| --- | --- | --- | --- |
|  | Monday - Friday | Monday - Friday | Monday – Friday |
|  | 08:00 – 18:00 | 08:00 – 18:00 | 08:00 – 18:00 |

Out of Hours Service: Contact number – 07831 158799

The Blood Transfusion Department operates an out of hours service for the acute service users outside of the routine working hours stated above for urgent samples and clinical advice.

| Out of Hours Service | Week Days | Weekends | Bank Holidays |
| --- | --- | --- | --- |
|  | 18:00 – 08:00 | Continual Out of Hours cover | Continual Out of Hours cover |

## DEPARTMENTAL KEY PERSONNEL

|  | Secretary / PA | Direct Line |
| --- | --- | --- |
| General Manager NKPS | (01322) 428488 | (01322) 428499 |
| Clinical Director | 5230 |  |
| Pathology Quality and Governance Manager | n/a | (01322) 428492 |
| Head of Blood Transfusion | n/a | 6051 |
| Senior Biomedical Scientists | n/a | 6051/6071 |
| Transfusion Practitioner | n/a | 6418 |

Consultants and Speciality Doctors

|  | Secretary / PA |
| --- | --- |
| Dr Sarah Arnott | Ext. 5219 |
| Dr Himali Mendis | Ext. 6178 |
| Dr Sudarshan Gurung | Ext. 5219 |
| Dr Nahla Osman | Ext. 4683 |
| Dr Bhagya Herath | Ext. 4683 |
| Dr Prabina Rai | Ext. 3742 |
| Dr Maduwanthi Jayaweera | n/a |

## LABORATORY VISITS

A successful pathology service depends on the quality of the relationship it has with its Users and so the Department welcomes visits to meet the staff.

To make an appointment please contact the Head of Department on extension 6051, or Senior Biomedical Scientists on extension 6051 and 5117 (laboratory).

All visitors to Pathology must report to Pathology Reception where they will be met by the reception staff who will inform laboratory personnel of their arrival. All visitors must sign in the visitors’ book on arrival and departure from the department and will be issued with a visitor’s badge, which must be returned when they leave.

## INFORMATION GOVERNANCE

Receipt of a recognised test request assumes that the patient has agreed (consented) that the test may be carried out, together with any follow-on tests required, and that information may be shared with healthcare professionals and statutory bodies as required. In accordance with legal requirements the department adheres to the Data Protection Act 1998 for all patient information and follows the guidelines laid out by the Royal College of Pathologists for the retention and disposal of laboratory records and specimens (5th edition 2015). Further information on this topic is available from the department upon request.

## BLOODTRACK

BloodTrack is an electronic blood tracking system employed at the Trust for vein to vein recording and audit of the blood transfusion process.  Use of the system is mandatory for blood transfusion sample labelling, blood collection and blood administration at the bedside.  Refer to Intranet DITH–POL–27 Medway Blood Transfusion Policy.

## SOP’s AND POLICIES

All Blood transfusion SOPs and policies can be found on the intranet under Policies and Procedures > Q-Pulse document library and searching keyword “blood”.

# SAMPLE COLLECTION

## POTENTIALLY INFECTIOUS SAMPLES AND HIGH RISK SAMPLES

All samples, but particularly those from patients suspected of having certain blood borne and other infectious diseases constitute a hazard to portering and laboratory staff handling them.

Staff are reminded to consider all samples as potentially high risk and therefore must wear gloves and laboratory coats when handling blood, body fluids and tissue samples.

If a patient is in a particularly high risk group e.g. viral haemorrhagic fever, SARS, anthrax; the laboratory must be contacted for further advice prior to sample testing.

The Blood Transfusion laboratory can only accept and process samples up to Category 2 risk rating.

## REQUESTING TESTS

Transfusion tests should be requested via a pink blood transfusion paper request form.

The information on all request forms and accompanying specimen bottles must correspond and minimum acceptance criteria are set out in POL.PAT.27 – Sample Acceptance and Rejection Policy.

## REQUEST FORMS

Refer to QPulse POL.PAT.27 – Sample Acceptance and Rejection Policy. The request form must have the full name and date of birth, gender and a unique identifier present and these must match the sample. Request form mandatory fields are shown in red.

NB: BloodTrack collection labels cannot be used in patient demographics section as this means the patient identification process was not followed prior to sample collection.

The bottom sample collection box MUST be completed fully and signed by the person who has collected the sample. The BloodTrack collection label may be used as this is printed at the bedside and contains all the required information.

Incomplete forms may cause delays in availability of results as samples may be delayed or not processed.

## URGENT REQUESTS

If a request is clinically urgent, please contact the laboratory and give the appropriate information to ensure priority is afforded. The samples must be clearly marked as urgent and kept separately from other samples being delivered at the same time.

Out of hours tests must only be those required for the immediate care of the patient. The out of hour’s service is available to acute care only.

## VENOUS BLOOD COLLECTION

An evacuated blood collection system is used to collect venous blood samples within the Trust by trained individuals.

If taking blood using a syringe and needle DO NOT transfer the blood into a vacutainer by using the vacuum to draw the blood into the bottle as this can haemolyse the sample.

Additional information can be found in the Vacuette blood container system section of the Medway Maritime Hospitals Intranet pages, under Directorates and departments>Diagnostics>Pathology >Test and container details.

Samples should be tested within 48 hours of collection.

## SAMPLE LABELLING

Samples are collected into EDTA containers (paediatric EDTA samples are acceptable for children or where difficulty is encountered in bleeding the patient).

Identification of the patient is paramount. In-patients must be identified with their request form using their wristband to confirm their full name, DOB and hospital number. In addition, the patient must be asked verbally to give their full name and date of birth wherever possible. Out-patients’ details must be confirmed verbally with the patient (in cases of language difficulties, young children or confused elderly patients’ details may be confirmed with an accompanying relative).

      - Samples must be labelled using the BloodTrack System in all areas where BloodTrack is deployed. This will decrease the risk to patient safety through positive electronic identification of patients using wristband.

      - Samples without BloodTrack label will be rejected.  All staff that do not use BloodTrack will be contacted before the sample is rejected.

Samples must be labelled according to the Sample Acceptance and Rejection Policy (refer to Intranet POL.PAT.27 – Sample Acceptance and Rejection Policy) & current BSH guidelines:

Blood Track label on sample, or if not available and reason stated in box on the request form, ensure the following details are handwritten on the sample:

Last Name/Surname in block capitals (or a coded identifier as in GU patients)

First name – print in lower case script

Hospital number – (PAS generated unique identifier or full Symphony A/E number or NHS number).

Date of Birth

Date collected

Gender

Time collected – use 24 – hour clock

Source/location of the patient

Clinical details / Reason for Transfusion

Signature or initials of the person that bled the patient.

Request Form: all mandatory fields completed, with additional fields completed wherever possible.

NB: If PAS is down and PAS number not available, effort should be made to locate the PAS number from other clinical systems, for example, Symphony or iLab. If the NHS number can be sourced, then this should be used in the absence of the PAS number. If neither PAS number nor NHS number is not available, please use first line of patient’s address and post code.

Routine Ante-Natal samples for blood grouping may not have a unique number available, but must be labelled fully with the patients full name, date of birth & first line of address AND postcode or NHS number.

## SAMPLE VALIDITY

The performance of any test and the resulting interpretation is totally dependent on the quality of the sample received into the laboratory. Samples should be sent to the laboratory as soon as possible and, in general, should be kept cool - ideally in the fridge and must be kept out of direct sunlight. Whole blood samples will deteriorate over a period of time. Problems associated with storage include red cell lysis, decrease in potency of red cell antibodies, particularly IgM antibodies and bacterial contamination.

| Patient Type | Sample Type |  |
| --- | --- | --- |
|  | Whole blood stored @ room temperature | Whole blood stored @ 2-8°C |
| patient transfused or pregnant in last 3 months | up to 48 hours from time of collection | up to 3* days from time of collection |
| patient NOT transfused or pregnant in last 3 months | up to 48 hours from time of collection | up to 7 days from time of collection |

*this is the time between sample collection & subsequent transfusion

## REJECTION OF SAMPLES

If a sample is not suitable for processing (i.e. inadequately labelled, wrong sample tube used, request form not completed correctly etc.) the request will be rejected, the ward or surgery informed by phone or email and the details of reasons for rejection recorded on the request form.

Samples may also be rejected for the following reasons:

a) The sample is insufficient for testing

b) The sample labelling requirements (see section 2.6) are not met

c) The sample is haemolysed /clotted

d) The sample is too old to process (>48 hours after sample was taken)

e) The incorrect specimen type is sent to the laboratory

f) There is any doubt over the specimen origin.

## FACTORS TO BE CONSIDERED THAT MAY AFFECT SAMPLE PROCESSING

Wharton’s Jelly in cord samples

Fibrin in sample

Patients with atypical antibodies

Patients on monoclonal antibody therapy

## SAMPLE VOLUME AND APPROPRIATE VACUTAINER

Please refer to Section 6 for volumes and type of vacutainer to use, if unsure please contact the Blood Transfusion laboratory for advice.

Additionally:

- For patients that have been transfused within the last 3 months or had recent BMT: these may affect crossmatching / phenotyping / DAT/ group and antibody screen.

- The Blood Transfusion laboratory can facilitate transfer of specialist tests to the referral NHSBT centres and to Anthony Nolan Trust.

# TRANSPORTATION OF PATHOLOGY SAMPLES

## SENDING SAMPLES TO THE LABORATORY

Samples for the Blood Transfusion Department can be sent to the laboratory in one of three ways:

- By Pneumatic Air Tube delivery

- By the Hospital Portering Service

- By Courier Service

## 3.2	PNEUMATIC AIR TUBE DELIVERY

There are a variety of locations throughout the Hospital that have the facility to send suitable Pathology samples to the laboratory using the Pneumatic Air Tube delivery system. These include:

| - Accident and Emergency - Intensive Care Unit - SCBU - FMU | - CCU - SAU - Medical HDU - GDU - MAU |
| --- | --- |

The pneumatic air tube system is for transport of pathology samples only. The sample(s) must be secured in the air tube carrier pod.

The pneumatic air tube system must NOT be used for:

- Blood components including used blood/FFP/platelets etc.

- Histology specimens

- Blood culture bottles

- Known high risk samples (e.g. viral haemorrhagic fever cases) or suspected emerging diseases

- Blood gas samples

- Ad hoc documentation.

Instructions for use of the system are located at pneumatic tube stations.

## 3.3	HOSPITAL PORTERING SERVICE

In all other areas of the hospital, samples are sent to Pathology via portering services, using the Call a Porter service, accessed via the intranet. All sample containers must be properly sealed; samples must be in individual sample bags with corresponding request form.

## 3.4	COURIER SERVICE

Samples from local GP surgeries are collected by courier and delivered to the Pathology Department.

## 3.5	SAMPLE SPILLAGES AND LEAKS

Sample bags containing leaking containers will be discarded and rejected via a report on the LIMS. If the leak has contaminated the inside of the air tube carrier, the carrier will be taken out of service and decontaminated appropriately by Pathology staff.

If a leak has contaminated the outside of the air tube carrier, the air tube system will be closed down in order that a decontamination procedure may be carried out.

All areas with an air tube station will be notified to ensure other arrangements for sample transportation can be put in place.

Once the decontamination process is complete and the air tube system is working, users will be notified.

## 3.6	SAMPLE REFERRAL

Samples for referral to another hospital must always be sent via the Pathology Laboratory. This will ensure correct packaging to meet regulatory requirements and provide an audit trail for each sample.

Blood Transfusion does not act as a receipting referral laboratory and therefore does not hold any SLA’s for this type of work. The referral laboratories that are utilised by the service hold the SLA’s for the service, and we comply with Clause 6.8 of ISO 15189:2022 regarding service provision including responsibility for ensuring that examination results of the referral laboratory are provided to the person making the request. We have procedures in place for the selection and monitoring of the referral laboratories service provision.

Service agreements for work performed by the laboratory for internal stakeholders – i.e. the antenatal team and external stakeholders i.e. GP’s, are managed and held by the Trust’s executive team. The laboratory does not have oversight of this documentation, but is answerable to the trust board for compliance.

# 4. TRANSFUSION TRAINING FOR STAFF

All staff handling blood or blood products MUST undertake mandatory training every two years to ensure safest practice in clinical care. NICU staff must undertake this training annually. All the blood transfusion certifications can be found on ESR by searching “275 blood”.  The names of certifications are as follows:

| Certification Name | Course content |
| --- | --- |
| 275 Blood sampling certification | Blood sample process for blood transfusion & using BloodTrack for sample labelling |
| 275 Blood collection Certification | Collecting blood & blood components from the blood fridges |
| 275 Blood Prescription & Administration | Prescription, consent and administration and monitoring of a blood transfusion including use of BloodTrack |

Following eLearning staff will need to complete a face to face practical session: classes can be booked on ESR by searching” 275 blood training” and booking onto a class.

For further details, contact the Transfusion Practitioner or the Trust Education Team.

# 5. TRANSFUSION ADVICE

Haematology Consultants, Transfusion Practitioner, HoD Blood Transfusion and Senior Biomedical Scientists are happy to discuss and advise on Transfusion matters with patient’s medical/ surgical staff and General Practitioners.

# 6. TEST REPERTOIRE

| Test | Sample Type (blood unless otherwise indicated) | Reference Range | Turn Around Time | Comments |
| --- | --- | --- | --- | --- |
| Transfusion |  |  |  |  |
| Adult Blood Group and Antibody Screen | 6ml PINK (EDTA) bottle 4ml MAUVE (EDTA) is accepted for paediatrics over 4 months of age. | None applicable | Within 24 hours Urgent samples requiring blood can be processed in 40 minutes if there are no special requirements | *Sample MUST have patient’s full name, hospital number, date of birth, date and time of sample collection and be signed by the person taking the sample. Bloodtrack MUST be used in all areas where it is deployed. DO NOT USE pre- printed labels* |
| Cross match | 6ml PINK (EDTA) bottle 4ml MAUVE (EDTA) is accepted for paediatrics over 4 months of age. 1 ml PINK (EDTA) bottle | None applicable | Non-urgent <4 hours Urgent Electronic Issue 5 minutes Serological 1 hour | If ordered in advance, blood will not be issued until the day before to best rotate blood stocks. Urgent cross matches must be followed up with a phone call to ensure these are prioritised and issued within 1 hour. This can be added up to 6 days after taking the G+S sample. (2 days after for patients transfused or Pregnant within last 3 months) |
| Direct Antiglobulin Test | 6ml PINK (EDTA) or 4ml MAUVE (EDTA) bottle 1 ml PINK (EDTA) bottle | None applicable | Within 24 hours | * Can use FBC sample or G+S. This can be added up to 6 days after taking the G+S sample. |
| Kleihauer | 6ml PINK (EDTA) bottle | None applicable | Within 24 hours | If sample is post-delivery, it must not be taken within 30 mins of delivery. The optimum sample time is 30-60 mins post-delivery |
| Neonatal Group and IgG DAT | 1 ml PINK (EDTA) bottle | None applicable | Within 24 hours | *Sample MUST have patient’s full name, hospital number, date of birth, date and time of sample collection and be signed by the person taking the sample. Bloodtrack MUST be used in all areas where it is deployed. DO NOT USE pre- printed labels* Forward group for <4 months only |
| Rh + K Phenotype | 6ml PINK (EDTA) bottle | None applicable | Within 24 hours | This can be added up to 6 days after taking the G+S sample (unless patient has been transfused within the last 3 months). |
| Cord and maternal bloods | 6ml PINK (EDTA) and 4ml MAUVE (EDTA) bottles from cord. 4ml MAUVE (EDTA) from mother. | None applicable | Within 24 hours | Cord samples must be labelled with baby’s name i.e. Baby Smith, baby’s PAS and/or NHS number, baby’s date of birth and date and time taken. Maternal samples should be labelled with mothers’ forename and surname, mothers PAS and/or NHS number, mothers date of birth and date and time taken. |
| Prophylactic anti-D |  | None applicable | Within 1 hour | Historical blood group is required to enable issue of anti-D. |
| Referrals RCI NHSBT |  |  |  |  |
| Alloantibody investigation | 2 x 6ml PINK (EDTA) bottles | None applicable | 5 working days | Sent to RCI Laboratory at NHSBT Tooting. |
| ABO/Rh grouping problems | 6ml PINK (EDTA) bottle | None applicable | 5 working days | Sent to RCI Laboratory at NHSBT Tooting. |
| Extended RBC phenotype | 6ml PINK (EDTA) bottle | None applicable | 5 working days | Sent to RCI Laboratory at NHSBT Tooting. |
| Autoimmune haemolytic anaemia / pos DAT | 2 x 6ml PINK (EDTA) bottles | None applicable | 5 working days | Sent to RCI Laboratory at NHSBT Tooting |
| Haemolytic transfusion reaction + lines/remnants from units | 2 x 6ml PINK (EDTA) bottles Post transfusion 6ml PINK (EDTA) bottles pre transfusion | None applicable | 2-3 working days | Sent to RCI Laboratory at NHSBT Tooting |
| Compatibility testing | 2 x 6ml PINK (EDTA) bottles | None applicable | 1 working day | Sent to RCI Laboratory at NHSBT Tooting |
| IgA deficiency / antibodies | 2 x 6ml PINK (EDTA) bottles | None applicable | 5 working days | Sent to RCI Laboratory at NHSBT Tooting |
| Haemolytic disease of the newborn 2 | 2 x 6ml PINK (EDTA) bottles Maternal 1 ml PINK (EDTA) bottle Cord blood | None applicable | 2-3 working days | Sent to RCI Laboratory at NHSBT Tooting |
| Anti-D/c quantification | 2 x 6ml PINK (EDTA) bottles | None applicable | 5 working days | Sent to RCI Laboratory at NHSBT Tooting |
| Paternal phenotyping | 6ml PINK (EDTA) bottle | None applicable | 5 working days | Sent to RCI Laboratory at NHSBT Tooting |
| Quantification of FMH or other minor RBC population | 6ml PINK (EDTA) bottle | None applicable | 1 working day | Sent to RCI Laboratory at NHSBT Colindale |
| Referrals H&I Tooting |  |  |  |  |
| Platelet Refractoriness HLA type Class I HLA specific antibody screen | 6ml PINK (EDTA) bottle 6ml GOLD (Clotted) | None applicable | 5 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Tooting |
| Drug Hypersensitivity / Disease Association B27 - B*57:0- HFE -Narcolepsy –Coeliac Others | 4ml MAUVE (EDTA) bottle or 6ml PINK (EDTA) bottle | None applicable | 7 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Tooting |
| Referrals H&I Filton |  |  |  |  |
| TRALI Transfusion-related acute lung injury (TRALI) | 6ml PINK (EDTA) bottle Pre transfusion 6ml PINK (EDTA) bottle Post transfusion 6ml GOLD (Clotted) Post transfusion | None applicable | Up to 7 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| TRANSFUSION REACTIONS Transfusion-associated Graft Versus Host Disease (TaGVHD): (STR testing) Severe febrile non-haemolytic transfusion reaction screening for HLA, HNA & HPA antibodies | Discuss sample requirements with H&I consultant. 2 x 6ml PINK (EDTA) bottles 2 x 6ml GOLD (Clotted) | None applicable | Up to 7 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton Only after discussion with a NHSBT Medical consultant For Post Transfusion Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| NAIT Fetal/Neonatal Alloimmune Thrombocytopenia | Mother 6ml PINK (EDTA) 6ml GOLD (Clotted) Father 6ml PINK (EDTA) Baby 1ml PINK (EDTA) | None applicable | Up to 7 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| Platelet transfusion refractoriness | 6ml GOLD (Clotted) for HPA antibody screen; 6ml PINK (EDTA) for HPA typing. | None applicable | 2-3 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| Autoimmune thrombocytopenia | 18ml PINK (EDTA) 6ml GOLD (Clotted) | None applicable | Up to 7 working days | The platelet count of the patient should be <100x109/L. These samples should not be refrigerated. Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| Heparin Induced Thrombocytopenia (HIT): | 6ml GOLD (Clotted) | None applicable | Up to 7 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| Other drug induced antibody mediated thrombocytopenias | 6ml GOLD (Clotted) A sample of the implicated drug(s) together with the pharmacological concentration used. | None applicable | Up to 7 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| Post Transfusion Purpura (PTP) | 6ml PINK (EDTA) 6ml GOLD (Clotted) | None applicable | Up to 7 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| NAIN: Neonatal Alloimmune Neutropenia | Mother 6ml PINK (EDTA) 6ml GOLD (Clotted) Father 6ml PINK (EDTA) Baby 1ml PINK (EDTA) | None applicable | Up to 7 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| Infant autoimmune neutropenia: | 2ml PINK (EDTA) 2ml GOLD (Clotted) | None applicable | Up to 7 working days | The neutrophil count of the patient should be <2x109/L. Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| Adult autoimmune neutropenia | 6ml GOLD (Clotted) | None applicable | Up to 7 working days | The neutrophil count of the patient should be <2x109/L. Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| Drug induced antibody mediated neutropenias | 6ml GOLD (Clotted) A sample of the implicated drug(s) together with the pharmacological concentration used. | None applicable | Up to 7 working days | Sent to Histocompatibility and Immunogenetics Laboratory at NHSBT Filton |
| Referrals to IBGRL |  |  |  |  |
| Genotyping/Extended Genotyping | 4ml MAUVE (EDTA) bottle or 6ml PINK (EDTA) bottle | None applicable | Within 10 working days | Sent to IBGRL |
| Fetal genotyping from maternal blood | 16ml MAUVE (EDTA) or PINK (EDTA) per Rh test | None applicable | Within 7 business days | Pregnancy must be at least 16 weeks for RhD/C/E/c. Pregnancy must be at least 20 weeks for Kell typing. |
| Fetal RhD Screening (cffDNA) | 6ml PINK (EDTA) bottle | None applicable | Within 10 business days | Designated request form must contain the EDD as confirmed by the pregnancy booking scan. Patient must be at least 11+2 weeks gestation to perform screening. |

# 7	BLOOD COMPONENTS AND PRODUCTS

All requests must be made by a clinician or nurse trained in prescribing blood components.

For non-urgent requests, requests are to be made via the transfusion request form.

For urgent requests, please phone the laboratory with the request.

Since January 1st 2013, 2 samples are required from a patient before group specific blood products and components will be issued based on BSH Guidelines.  If a second sample is necessary, it should be taken as a separate episode with a separate request form and after positively identifying the patient for the second time using the information on the request form.

If there is no historic blood group record, the following groups will be issued:

Group O red cells

Group A HT-negative platelets

Group AB/A FFP

Group A Cryoprecipitate

Traceability (as required by the Blood Safety and Quality Regulations 2005) is achieved primarily through BloodTrack. If Bloodtrack is not used to detail a component has been transfused, the slip at the bottom of the Bloodtrack label on the component must be returned to the laboratory.

Red blood cells kept out of the blood fridge for more than 30 minutes will be quarantined while kept within the optimal temperature. Red blood cells that have been kept out of the blood fridge for more than 60 minutes will be discarded. Where this is avoidable, a DATIX will be raised.

## 7.1	RED BLOOD CELLS

The request for red cells can be made with a new group and save and or on an existing valid group and save. Cross matched blood will be available from the Issue Fridge in the Blood Transfusion Laboratory lobby. Access is controlled for blood collection only for members of staff who have undergone training and competency assessment for collection of blood components/ products.

## 7.2	PLATELET CONCENTRATES

NICE recommendations state to transfuse one pool of platelets at a time and not undergo double dosing; consider the British Society of Haematology (BSH) guidelines for platelet transfusion.

If staff feel that the platelet transfusion is inappropriate they may challenge this.

DO NOT REFRIGERATE ON WARD as this will impair platelet function.

Platelets may require ordering from the NHSBT and may take up to 4 hours to be delivered on site; for HLA matched platelets this may take up to 48 hours, therefore give as much notice as possible for planned transfusions.

## 7.3	FRESH FROZEN PLASMA (FFP) AND CRYOPRECIPITATE (CRYO)

(For dosing information or to request clinical advice, please contact the Haematology Consultant on-call via switchboard.)

FFP and cryoprecipitate are frozen products that require 20 minutes to thaw before being ready to issue.

Cryoprecipitate must be used within 4 hours of defrosting.

FFP should be used within 24 hours of defrosting (when stored at 2-6°C). NB: FFP may be used for up to 5 days in Major Haemorrhage Protocol situations

## 7.4	ANTI-D IMMUNOGLOBULIN (IG)

Anti-D Ig is given on a named patient basis and is available in 1500IU doses.

Anti-D Ig is given to Rh D negative women during and after pregnancy for the following reasons:

- Miscarriage before 12 weeks ONLY IF it has required medical intervention (i.e. not for spontaneous miscarriage)

- Per Vaginal (PV) bleeding, threatened abortion/miscarriage after 12 weeks

- Seat-belt injury with or without PV bleeding and trauma to the abdomen with or without PV bleeding after 20 weeks gestation,

- Invasive procedures (chorionic villous sampling, amniocentesis)

- Evacuation and removal of products of conception (ERPC) from 12 weeks gestation

- Post-delivery if baby is found to be Rh positive

- As part of the antenatal care, all Rh D negative women are offered one 1500IU dose of Anti-D Ig at 28 weeks gestation; if this is not accepted, this must be documented in patient notes and the transfusion department informed. Fetal RhD screening identified RhD negative patients carrying a RhD negative fetus and therefore do not require anti-D prophylaxis during that pregnancy.

- Potentially this can be given if the laboratory had had to transfuse Rh positive platelets to an Rh negative individual.

## 7.5	COAGULATION FACTORS/PRODUCTS

These products include Advate, Benefix, Prothromplex and Novoseven and are available, after discussion and approval, from the Consultant Haematologist. They are used to treat patients with coagulation factor deficiencies, in cases of massive haemorrhage or for rapid reversal of oral anticoagulation (e.g. warfarin).

## 7.6      PROVISION OF BLOOD IN AN EMERGENCY

Emergency issue of O Rh D Negative Blood is available for use in a life threatening emergency at any time, 24 hours a day, when the patient’s blood group is unknown, and when there is not a valid group and save sample in the laboratory. Two units of emergency blood for adult and paediatric use are kept in the issue fridge in the Pathology Blood Transfusion Department (4HP 04A), as well as three neonatal packs of emergency blood suitable for neonatal use.

There are risks associated with transfusing uncrossmatched O Negative blood. Where the patient’s blood group is known and confirmed, it is safer to transfuse ABO Rh (D) compatible blood. For females >51 years of age and males >18 years of age, O RhD positive emergency blood is available.

Fully cross-matched blood can be available within 40 minutes once the sample has arrived in Blood Bank, providing the patient does not have any antibodies/special requirements for blood. Group specific blood can be available within 10 minutes once the sample has arrived in blood bank.

## 7.7	MAJOR HAEMORRHAGE PROTOCOL

Refer to Trust SOP Major Haemorrhage Protocol (CANC-SOP-40)

The Major Haemorrhage Protocol (MHP) is triggered to provide blood and blood components to patients with an urgent need, in a major haemorrhage situation.

At the request of a team leader (doctor or paramedic only), the ‘major haemorrhage protocol’ (MHP) can be initiated. If unsure whether MHP should be initiated, consider consultant involvement. The team leader should then nominate a team member who will activate the MHP. The Nominated Team Member (NTM) will then co-ordinate communications with the laboratory and support staff.

The Trust policy on group check samples must be adhered to. This means that the laboratory must have 2 confirmed blood groups from the patient before group specific blood will be made available. If a second sample is necessary, it should be taken as a separate episode with a separate request form and after positively identifying the patient for the second time using the information on the request form.

Until a confirmed group has been established, group O blood will be made available. Where a delay occurs in the provision of group compatible blood, O RhD negative blood will be made available for women of child-bearing age (defined as under 50 years of age) and children (under the age of 18 years) or O RhD positive for men and women older than 50 years of age.

# 8	TRANSFUSION REACTION

Refer to Trust SOP (DITH-GUD-42 – Blood Transfusion – Management of a Suspected Transfusion Reaction)

# 9	RELATIONSHIP WITH THE BLOOD TRANSFUSION LAB AT DARENT VALLEY 	HOSPITAL

All Medway antenatal blood samples are sent to Central Specimen Reception (CSR) at Darent Valley Hospital, where they are sent to the appropriate departments for processing. The group and antibody screen samples of these antenatal requests are sent back to Medway, on the routine intra-site courier, for processing.

If any samples are mistakenly received for Darent Valley Hospital, they are sent back to CSR on the routine intra-site courier.

Reagents and consumables can be shared, if required, between the two Blood Transfusion Laboratories. These are transported using the routine intra-site courier.

Several suppliers serve both laboratories (e.g. QuidelOrtho, Labcold, Ellab, CAM+) and, where possible, processes and contracts are aligned to ensure maximum efficiency.